## Air Defrost Submittal Form
HEAT TRANSFER PRODUCTS GROUP, LLC
3885 Crestwood Parkway, Suite 500
Ph: 800-288-9488 ¦ Fx: 256-259-7478
www.htpg.com
PACKAGE REFRIGERATION SYSTEM SUBMITTAL DATA SHEET
Job Name: |  |  |  |  | Job Location:
Customer: |  |  |  |  | Prepared By:
Model Number: | Air Defrost Model Number |  |  |  | Tagging Info:
Date:
CAPACITY DATA (BTUH) ¦ R-448A
AMBIENT TEMPERATURE
80 |  | 90 |  | 95 |  | 100 |  | 110
Box Temperature
35 | 38 | 35 | 38 | 35 | 38 | 35 | 38 | 35 | 38
80 Amb. / 35 Box | 80 Amb. / 38 Box | 90 Amb. / 35 Box | 90 Amb. / 38 Box | 95 Amb. / 35 Box | 95 Amb. / 38 Box | 100 Amb. / 35 Box | 100 Amb. / 38 Box | 110 Amb. / 35 Box | 110 Amb. / 38 Box
ELECTRICAL DATA
Defrost Type |  | Compressor Type |  | HP | Unit Voltage | MCA | MOPD | Unit Amps | NEMA Receptacle
Defrost Type |  | Compressor Type |  | HP | Voltage | MCA | MOPD | Unit Amps | NEMA Receptical
PHYSICAL DATA | [5 empty] | DOE AWEF RATING
Cabinet Size |  | Net Weight (lbs) | Ship Weight (lbs) | CFM | Plug Available | Indoor |  | Outdoor
Cabinet Size |  | Aprx. Net Weight - LBs | Aprx. Ship Weight - LB | U.C. CFM | Plug Available? | Indoor AWEF |  | Outdoor AWEF
AVAILABLE OPTIONS
Due to continuing product development, specifications are subject to change without notice.
For Approval
For Record Only
EcoNet Command Center
Roof Kit
Hail Guard
Plug Kit

## Electric Defrost Submittal Form
HEAT TRANSFER PRODUCTS GROUP, LLC
3885 Crestwood Parkway, Suite 500
Ph: 800-288-9488 ¦ Fx: 256-259-7478
www.htpg.com
PACKAGE REFRIGERATION SYSTEM SUBMITTAL DATA SHEET
Job Name: | [7 empty] | Job Location:
Customer: | [7 empty] | Prepared By:
Model #: |  |  | Electric Defrost Model Number |  |  |  |  | Tagging Info:
Date:
CAPACITY DATA (BTUH) ¦ R-448A
AMBIENT TEMPERATURE
80 |  |  | 90 |  |  | 95 |  |  | 100 |  |  | 110
Box Temperature
0 | -10 | -20 | 0 | -10 | -20 | 0 | -10 | -20 | 0 | -10 | -20 | 0 | -10 | -20
80 Amb. / 0 Box | 80 Amb. / -10 Box | 80 Amb. / -20 Box | 90 Amb. / 0 Box | 90 Amb. / -10 Box | 90 Amb. / -20 Box | 95 Amb. / 0 Box | 95 Amb. / -10 Box | 95 Amb. / -20 Box | 100 Amb. / 0 Box | 100 Amb. / -10 Box | 100 Amb. / -20 Box | 110 Amb. / 0 Box | 110 Amb. / -10 Box | 110 Amb. / -20 Box
ELECTRICAL DATA
Defrost Type |  | Compressor Type |  | HP | Unit Voltage |  | MCA |  | MOPD |  | Unit Amps |  | NEMA Receptacle
Defrost Type |  | Compressor Type |  | HP | Voltage |  | MCA |  | MOPD |  | Unit Amps |  | NEMA Receptical
PHYSICAL DATA | [10 empty] | DOE AWEF RATING
Cabinet Size |  |  | Net Weight (lbs) |  | Ship Weight (lbs) |  | CFM |  | Plug Available |  | Indoor |  | Outdoor
Cabinet Size |  |  | Aprx. Net Weight - LBs |  | Aprx. Ship Weight - LB |  | U.C. CFM |  | Plug Available? |  | Indoor AWEF |  | Outdoor AWEF
AVAILABLE OPTIONS
Due to continuing product development, specifications are subject to change without notice.
EcoNet Command Center
Roof Kit
Hail Guard
Plug Kit (if available)
For Approval
For Record Only

## Technical Data (hidden)
Air Defrost Model Number | Compressor Type | HP | 80 Amb. / 35 Box | 80 Amb. / 38 Box | 90 Amb. / 35 Box | 90 Amb. / 38 Box | 95 Amb. / 35 Box | 95 Amb. / 38 Box | 100 Amb. / 35 Box | 100 Amb. / 38 Box | 110 Amb. / 35 Box | 110 Amb. / 38 Box | Indoor AWEF | Outdoor AWEF | Defrost Type | Voltage | MCA | MOPD | Unit Amps | U.C. CFM | Plug Available? | NEMA Receptical | Cabinet Size | Aprx. Net Weight - LBs | Aprx. Net Weight - Kg | Aprx. Ship Weight - LB | Aprx. Ship Weight - KG | [5 empty] | IMAGE
HPH050M48AA | HERMETIC | 0.5 | 5960 | 6290 | 5550 | 5870 | 5360 | 5670 | 5170 | 5470 | 4790 | 5090 | - | - | AIR | 115/1/60 | 15 | 20 | 10.5 | 600 | KIT | 5-20R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPH055M48AA | HERMETIC | 0.5 | 6480 | 6870 | 6040 | 6400 | 5830 | 6170 | 5610 | 5950 | 5170 | 5490 | - | - | AIR | 115/1/60 | 15 | 20 | 11.8 | 600 | KIT | 5-20R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPO080M48AA | SCROLL | 0.75 | 8200 | 8600 | 7750 | 8120 | 7530 | 7890 | 7310 | 7660 | 6850 | 7180 | 5.61 | 7.6 | AIR | 115/1/60 | 18.4 | 30 | 15.1 | 600 | KIT | 5-20R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPO100M48AA | SCROLL | 1 | 9290 | 9820 | 8790 | 9260 | 8530 | 9000 | 8260 | 8740 | 7730 | 8180 | 5.61 | 7.6 | AIR | 115/1/60 | 20 | 30 | 16.4 | 600 | NO KIT | - | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPO120M48AA | SCROLL | 1.25 | 11900 | 12480 | 11250 | 11800 | 10910 | 11460 | 10590 | 11110 | 9870 | 10390 | 5.61 | 7.6 | AIR | 115/1/60 | 21.7 | 35 | 18.1 | 1200 | NO KIT | - | LARGE | 235 | 106.6 | 313 | 142 | [5 empty] | Large Cabinet Diagram
HPH050M48DA | Hermetic | 0.5 | 5960 | 6290 | 5550 | 5870 | 5360 | 5670 | 5170 | 5470 | 4790 | 5090 | - | - | AIR | 208-230/1/60 | 15 | 15 | 6.6 | 600 | KIT | 6-15R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPH055M48DA | Hermetic | 0.5 | 6480 | 6870 | 6040 | 6400 | 5830 | 6170 | 5610 | 5950 | 5170 | 5490 | - | - | AIR | 208-230/1/60 | 15 | 15 | 6.7 | 600 | KIT | 6-15R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPO080M48DA | SCROLL | 0.75 | 8200 | 8600 | 7750 | 8120 | 7530 | 7890 | 7310 | 7660 | 6850 | 7180 | 5.61 | 7.6 | AIR | 208-230/1/60 | 15 | 15 | 7.4 | 600 | KIT | 6-15R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPO100M48DA | SCROLL | 1 | 9290 | 9820 | 8790 | 9260 | 8530 | 9000 | 8260 | 8740 | 7730 | 8180 | 5.61 | 7.6 | AIR | 208-230/1/60 | 15 | 15 | 7.6 | 600 | KIT | 6-15R | SMALL | 206 | 93.4 | 286 | 129.7 | [5 empty] | Small Cabinet Diagram
HPO120M48DA | SCROLL | 1.25 | 11900 | 12480 | 11250 | 11800 | 10910 | 11460 | 10590 | 11110 | 9870 | 10390 | 5.61 | 7.6 | AIR | 208-230/1/60 | 15 | 15 | 10.2 | 1200 | KIT | 6-15R | LARGE | 235 | 106.6 | 313 | 142 | [5 empty] | Large Cabinet Diagram
HPO150M48DA | SCROLL | 1.5 | 15110 | 15830 | 14280 | 14940 | 13840 | 14510 | 13350 | 14030 | 12410 | 13010 | 5.61 | 7.6 | AIR | 208-230/1/60 | 17.2 | 25 | 14.3 | 1200 | KIT | 6-20R | LARGE | 235 | 106.6 | 313 | 142 | [5 empty] | Large Cabinet Diagram
Low Temperature Models
Electric Defrost Model Number | Compressor Type | HP | 80 Amb. / 0 Box | 80 Amb. / -10 Box | 80 Amb. / -20 Box | 90 Amb. / 0 Box | 90 Amb. / -10 Box | 90 Amb. / -20 Box | 95 Amb. / 0 Box | 95 Amb. / -10 Box | 95 Amb. / -20 Box | 100 Amb. / 0 Box | 100 Amb. / -10 Box | 100 Amb. / -20 Box | 110 Amb. / 0 Box | 110 Amb. / -10 Box | 110 Amb. / -20 Box | Indoor AWEF | Outdoor AWEF | Defrost Type | Voltage | MCA | MOPD | Unit Amps | U.C. CFM | Plug Available? | NEMA Receptical | Cabinet Size | Aprx. Net Weight - LBs | Aprx. Net Weight - Kg | Aprx. Ship Weight - LB | Aprx. Ship Weight - KG
HPO150L48DA | SCROLL | 1.5 | 7030 | 5790 | 4630 | 6640 | 5460 | 4360 | 6440 | 5290 | 4210 | 6230 | 5110 | 4070 | 5810 | 4650 | 3790 | 2.17 | 3.15 | ELECTRIC | 208-230/1/60 | 15 | 15 | 9.8 | 600 | KIT | 6-15R | SMALL | 218.5 | 99.1 | 298.5 | 135.4 | Small Cabinet Diagram
HPO250L48DA | SCROLL | 2.5 | 9770 | 8230 | 6830 | 9210 | 7770 | 6440 | 8930 | 7520 | 6240 | 8630 | 7280 | 6040 | 8030 | 6770 | 5650 | 2.17 | 3.15 | ELECTRIC | 208-230/1/60 | 17.5 | 25 | 14.4 | 600 | KIT | 6-20R | SMALL | 218.5 | 99.1 | 298.5 | 135.4 | Small Cabinet Diagram
HPO300L48DA | SCROLL | 3 | 13550 | 11340 | 9340 | 12810 | 10730 | 8830 | 12440 | 10400 | 8570 | 12040 | 10070 | 8290 | 11210 | 9370 | 7720 | 2.17 | 3.15 | ELECTRIC | 208-230/1/60 | 19 | 30 | 15.8 | 1200 | NO KIT | - | LARGE | 264 | 119.7 | 342 | 155.1 | Large Cabinet Diagram
HPO350L48DA | SCROLL | 3.5 | 15130 | 12740 | 10680 | 14090 | 11950 | 10050 | 13770 | 11650 | 9750 | 13310 | 11300 | 9430 | 12320 | 10540 | 8810 | 2.17 | 3.15 | ELECTRIC | 208-230/1/60 | 23.4 | 35 | 19.3 | 1200 | NO KIT | - | LARGE | 264 | 119.7 | 342 | 155.1 | Large Cabinet Diagram